03. Design Development and Tender Readiness Expanded Checklist Confirm that the design is coordinated, affordable, operable and sufficiently defined before tender.

PROJECT DETAILS

| Project title | Enter the controlled project title used on approvals, appointments and contract documents. ________________________________________________________________ | Project reference | Use the organisation’s project number or another unique reference that will remain stable throughout the project. ________________________________________________________________ |
| --- | --- | --- | --- |
| Client / organisation | Enter the legal or operational client organisation responsible for the project. ________________________________________________________________ | Site / building | Identify the building, site, floor, room or package clearly enough for another reviewer to understand the project boundary. ________________________________________________________________ |
| Prepared by | Name the person coordinating this review. Technical or legal answers should still be confirmed by the appropriately appointed adviser. ________________________________________________________________ | Review date | Enter the date of this review. Update it when the checklist is formally revisited. ________________________________________________________________ |

Document version: 1.0  |  22 July 2026

HOW TO USE THIS CHECKLIST Open the file early and keep it live. Select a status for every line, record the evidence or decision, and give every action an owner and due date. Use N/A only where the matter genuinely does not apply and explain why. A checklist supports client governance; it does not replace project-specific professional, legal, technical, safety or procurement advice. Status: [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] Not applicable

EXPANDED WORKING CHECKLIST

Complete each item with the project team. Attach or identify supporting evidence where appropriate.

A1 ¦ BRIEF ALIGNMENT. Confirm the current design still answers the approved brief. Guidance: Compare the design against the latest controlled brief rather than memory or earlier meeting notes.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

A2 ¦ BRIEF ALIGNMENT. Record every approved change to scope, quality or intended use. Guidance: Include the reason, approver, cost effect, programme effect and revision of the brief or drawings.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

A3 ¦ BRIEF ALIGNMENT. Confirm measurable success criteria remain achievable. Guidance: Test capacity, accessibility, performance, completion date, operational outcomes and other agreed measures.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

A4 ¦ BRIEF ALIGNMENT. Identify client decisions still needed before tender. Guidance: Give each decision an owner and latest date. Treat unresolved choices affecting price or coordination as tender-readiness risks.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

A5 ¦ BRIEF ALIGNMENT. Confirm user and operational representatives have reviewed the developed design. Guidance: Seek practical input from facilities, maintenance, IT, security, cleaning, accessibility and end users before the design is frozen.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B1 ¦ SURVEYS AND EXISTING INFORMATION. Confirm required surveys have been completed and issued to the designers. Guidance: Check the survey scope and limitations, not merely that a report exists.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B2 ¦ SURVEYS AND EXISTING INFORMATION. Verify dimensions, levels and existing construction where the design relies on them. Guidance: Record any areas that could not be accessed and how the uncertainty will be managed.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B3 ¦ SURVEYS AND EXISTING INFORMATION. Confirm existing services and capacities have been investigated. Guidance: Include incoming supplies, distribution, drainage, controls, fire alarm, data and utility-provider requirements.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B4 ¦ SURVEYS AND EXISTING INFORMATION. Confirm asbestos and hazardous-material information is adequate for the planned work. Guidance: Check that the survey type and access match the scope and that residual limitations are visible.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B5 ¦ SURVEYS AND EXISTING INFORMATION. Review structural, ground, drainage and building-condition risks. Guidance: Ensure the design and cost plan respond to findings rather than leaving reports unreferenced.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B6 ¦ SURVEYS AND EXISTING INFORMATION. Identify remaining unknowns and their treatment. Guidance: Choose a deliberate response: further investigation, design solution, provisional allowance, tender assumption or retained client risk.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C1 ¦ DESIGN COORDINATION. Confirm architectural information is sufficiently developed. Guidance: Plans, elevations, sections, details, schedules and room information should describe the complete work and existing interfaces.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C2 ¦ DESIGN COORDINATION. Confirm structural design and sequencing are coordinated. Guidance: Include openings, supports, temporary stability assumptions, loadings, interfaces and builder’s work.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C3 ¦ DESIGN COORDINATION. Confirm mechanical, electrical and public-health designs are coordinated. Guidance: Check plant locations, routes, penetrations, controls, power, drainage, access and builders’ work.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C4 ¦ DESIGN COORDINATION. Confirm fire, security, data, AV and specialist systems are integrated. Guidance: Avoid treating specialist packages as later additions where they affect space, power, containment, doors, ceilings or commissioning.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C5 ¦ DESIGN COORDINATION. Check reflected ceilings, room layouts and service zones. Guidance: Resolve clashes between lighting, detectors, grilles, sprinklers, access panels, acoustic elements and partitions.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C6 ¦ DESIGN COORDINATION. Check interfaces between existing and new work. Guidance: Define demolition, protection, temporary support, making good, service changeovers and responsibility at each boundary.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C7 ¦ DESIGN COORDINATION. Confirm design responsibilities are allocated. Guidance: Identify consultant, contractor and specialist design portions, required performance criteria, review process and programme.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C8 ¦ DESIGN COORDINATION. Record the lead designer’s coordination review. Guidance: Retain evidence of interdisciplinary review and list any residual actions before tender issue.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D1 ¦ COMPLIANCE AND PERFORMANCE. Confirm the planning and heritage strategy remains valid. Guidance: Check design changes against applications, conditions, listed-building requirements and consultation commitments.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D2 ¦ COMPLIANCE AND PERFORMANCE. Confirm the Building Regulations strategy and approval status. Guidance: Identify remaining design evidence, submissions, consultations and conditions that affect tender or construction.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D3 ¦ COMPLIANCE AND PERFORMANCE. Review fire safety in the developed design. Guidance: Consider escape, compartmentation, fire stopping, alarms, smoke control, firefighting access, management arrangements and construction-stage interfaces.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D4 ¦ COMPLIANCE AND PERFORMANCE. Review accessibility and inclusive design. Guidance: Check routes, doors, levels, sanitary facilities, controls, signage, acoustics, lighting and evacuation arrangements.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D5 ¦ COMPLIANCE AND PERFORMANCE. Review security, safeguarding and privacy. Guidance: Consider zoning, access control, surveillance, secure storage, public interfaces and use during construction and operation.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D6 ¦ COMPLIANCE AND PERFORMANCE. Confirm environmental and sustainability requirements. Guidance: Record energy, carbon, water, materials, waste, ecology, overheating and any certification or organisational targets.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D7 ¦ COMPLIANCE AND PERFORMANCE. Confirm acoustic, thermal, ventilation and lighting performance. Guidance: State measurable criteria and how design compliance and later testing will be demonstrated.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D8 ¦ COMPLIANCE AND PERFORMANCE. Review durability, cleaning and maintainability. Guidance: Check access, replacement routes, safe isolation, standardisation, spares, cleaning methods and whole-life implications.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E1 ¦ CLIENT INTERFACES. Define furniture, fixtures and equipment. Guidance: Identify what is in the contract, client-supplied or reused and coordinate dimensions, services, delivery and installation dates.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E2 ¦ CLIENT INTERFACES. Define ICT, data, AV, security and specialist equipment interfaces. Guidance: Record power, containment, network, cooling, mounting, testing and commissioning responsibilities.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E3 ¦ CLIENT INTERFACES. Define signage, wayfinding, room numbering and branding. Guidance: Coordinate statutory, operational and corporate signage before tender rather than leaving it as an unpriced afterthought.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E4 ¦ CLIENT INTERFACES. Confirm decant, phasing and temporary accommodation requirements. Guidance: Test the design and programme against the client’s ability to release areas and maintain services.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E5 ¦ CLIENT INTERFACES. Confirm access, deliveries and work restrictions are reflected in the design. Guidance: Include compound space, lifting, waste routes, working hours, shutdowns, noise, dust and security.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F1 ¦ COST AND PROGRAMME. Update the cost plan against the current design. Guidance: Reconcile the cost plan to the latest drawings, specification and client decisions, including risk, inflation, fees and client costs.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F2 ¦ COST AND PROGRAMME. Confirm the project remains within authorised funding. Guidance: Where it does not, revise scope, standard, phasing or funding before tender rather than hoping competition will solve the gap.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F3 ¦ COST AND PROGRAMME. Record cost effects of unresolved design decisions. Guidance: Use allowances transparently and identify who controls each assumption.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F4 ¦ COST AND PROGRAMME. Review value engineering without losing required outcomes. Guidance: Record what changes, what benefit is achieved and any effect on performance, maintenance, appearance, programme or risk.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F5 ¦ COST AND PROGRAMME. Update the project programme. Guidance: Allow for remaining design, approvals, tender, decision, mobilisation, long-lead procurement, commissioning and client fit-out.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F6 ¦ COST AND PROGRAMME. Identify long-lead items and early procurement decisions. Guidance: Confirm design information, authority, warranties, storage, ownership and interface risk before committing early orders.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F7 ¦ COST AND PROGRAMME. Confirm the procurement route and contract strategy still suit the developed design. Guidance: Review design responsibility, pricing basis, risk allocation and programme as information becomes clearer.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G1 ¦ TENDER READINESS. Prepare a controlled drawing and document register. Guidance: List title, number, revision, status, author and issue date for every tender document.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G2 ¦ TENDER READINESS. Confirm drawings, specification and schedules use consistent terminology and revisions. Guidance: Check room numbers, dimensions, product descriptions, scope boundaries and cross-references.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G3 ¦ TENDER READINESS. Identify incomplete information and how tenderers must price it. Guidance: Do not hide gaps. State performance requirements, provisional sums, assumptions or contractor design responsibilities consistently.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G4 ¦ TENDER READINESS. Confirm pre-construction information is being assembled. Guidance: Include project, site, existing building, hazards, operations, surveys and management information relevant to pricing and planning.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G5 ¦ TENDER READINESS. Complete a formal design review with client, designers and cost adviser. Guidance: Record evidence, actions, owners and stop items rather than relying on a general statement that the design is nearly complete.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G6 ¦ TENDER READINESS. Approve the design freeze for tender. Guidance: A freeze creates a controlled baseline. Any later change should be assessed, authorised and issued through formal change control.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

STAGE GATE DECISION

Gate test

The client and advisers can clearly describe what is being bought, how it meets the brief, what it costs and which residual risks remain.

Decision

[ ] Approved to proceed [ ] Approved with conditions [ ] Do not proceed [ ] Review not yet completed

Approved by ______________________________________________; Date ______________________________________________.

Conditions, exceptions and residual risks

Record every condition or accepted exception, together with its owner and completion date where relevant. ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________

Building Project Checklists — expanded downloadable resource | Version 1.0, 22 July 2026. For client-side project governance. Confirm current legislation, contract terms, organisational procedures and project-specific professional advice.