08. Handover and Operational Readiness Expanded Checklist Confirm that the building, information and people are ready before responsibility passes to the client.

PROJECT DETAILS

| Project title | Enter the controlled project title used on approvals, appointments and contract documents. ________________________________________________________________ | Project reference | Use the organisation’s project number or another unique reference that will remain stable throughout the project. ________________________________________________________________ |
| --- | --- | --- | --- |
| Client / organisation | Enter the legal or operational client organisation responsible for the project. ________________________________________________________________ | Site / building | Identify the building, site, floor, room or package clearly enough for another reviewer to understand the project boundary. ________________________________________________________________ |
| Prepared by | Name the person coordinating this review. Technical or legal answers should still be confirmed by the appropriately appointed adviser. ________________________________________________________________ | Review date | Enter the date of this review. Update it when the checklist is formally revisited. ________________________________________________________________ |

Document version: 1.0  |  22 July 2026

HOW TO USE THIS CHECKLIST Open the file early and keep it live. Select a status for every line, record the evidence or decision, and give every action an owner and due date. Use N/A only where the matter genuinely does not apply and explain why. A checklist supports client governance; it does not replace project-specific professional, legal, technical, safety or procurement advice. Status: [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] Not applicable

EXPANDED WORKING CHECKLIST

Complete each item with the project team. Attach or identify supporting evidence where appropriate.

A1 ¦ HANDOVER PLANNING. Begin the handover review several weeks before completion. Guidance: Use a live action plan rather than waiting for the final meeting.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

A2 ¦ HANDOVER PLANNING. Confirm the target practical-completion, handover and occupation dates. Guidance: Distinguish contractual completion from the date the client can actually use the facility.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

A3 ¦ HANDOVER PLANNING. Identify the people who must approve or contribute to handover. Guidance: Include contract administrator, designers, principal designer, contractor, facilities, IT, security, cleaning, users and statutory bodies.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

A4 ¦ HANDOVER PLANNING. Create a handover deliverables schedule. Guidance: List physical, documentary, testing, training, commercial and client-readiness requirements with owners and dates.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

A5 ¦ HANDOVER PLANNING. Define any phased, sectional or partial handover. Guidance: Record boundaries, shared services, responsibilities, access, insurance and remaining contractor work.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B1 ¦ PHYSICAL COMPLETION. Confirm the work is complete enough for the contractual completion assessment. Guidance: The certifier must apply the actual contract; the client checklist supports but does not replace that judgement.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B2 ¦ PHYSICAL COMPLETION. Inspect all rooms, areas, roofs, externals and plant spaces. Guidance: Include less visible areas, access routes, ceilings, service cupboards and interfaces with existing work.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B3 ¦ PHYSICAL COMPLETION. Record defects, incomplete work and outstanding making good. Guidance: Give each item a location, description, owner, priority and target date. Avoid vague snagging notes.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B4 ¦ PHYSICAL COMPLETION. Confirm cleaning and removal of waste, protection and temporary works. Guidance: Check builders clean, specialist cleaning, labels, dust, skips, temporary signage, compounds and redundant services.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B5 ¦ PHYSICAL COMPLETION. Confirm doors, windows, finishes, fittings and equipment operate correctly. Guidance: Test representative and critical items rather than relying only on visual inspection.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B6 ¦ PHYSICAL COMPLETION. Confirm access, keys, locks and security devices. Guidance: Record key schedules, master keys, access cards, codes, alarm zones and responsibility for programming.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

B7 ¦ PHYSICAL COMPLETION. Confirm external works, drainage and weather protection are complete. Guidance: Check temporary or seasonal items, gutters, outlets, falls, seals, landscaping and safe routes.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C1 ¦ TESTING AND COMMISSIONING. Confirm all systems have been tested and commissioned. Guidance: Identify the approved procedure, responsible specialist, results, outstanding failures and retest dates.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C2 ¦ TESTING AND COMMISSIONING. Witness critical demonstrations and performance tests. Guidance: Include fire alarms, emergency lighting, ventilation, heating, controls, lifts, security, drainage and specialist systems as relevant.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C3 ¦ TESTING AND COMMISSIONING. Confirm balancing, set points and control strategies. Guidance: Record final settings and ensure they match the intended operating pattern rather than temporary construction conditions.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C4 ¦ TESTING AND COMMISSIONING. Confirm integrated systems operate together. Guidance: Test interfaces such as fire alarm shutdowns, access control, smoke control, BMS, lifts, security and existing systems.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C5 ¦ TESTING AND COMMISSIONING. Record seasonal commissioning still required. Guidance: Identify heating, cooling or environmental tests that cannot be completed at handover and set dates and responsibility.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

C6 ¦ TESTING AND COMMISSIONING. Confirm meter readings, utilities and permanent connections. Guidance: Record readings, account transfers, tariffs, utility approvals and any temporary supplies to be removed.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D1 ¦ STATUTORY AND SAFETY INFORMATION. Obtain the Building Control completion evidence required for occupation. Guidance: Check the actual approval route and any conditions, notices or outstanding evidence.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D2 ¦ STATUTORY AND SAFETY INFORMATION. Obtain planning, listed-building and other approval close-out evidence. Guidance: Discharge relevant conditions and retain approved drawings, notices and correspondence.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D3 ¦ STATUTORY AND SAFETY INFORMATION. Obtain fire-safety information and update the responsible person. Guidance: Include fire strategy, cause-and-effect, compartmentation, fire stopping, doors, alarms, evacuation and maintenance information.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D4 ¦ STATUTORY AND SAFETY INFORMATION. Obtain electrical, gas, lift, pressure-system and specialist certificates. Guidance: Confirm certificates are complete, signed, relevant to the installed system and stored for future access.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D5 ¦ STATUTORY AND SAFETY INFORMATION. Receive the health and safety file. Guidance: Check it contains relevant, usable information for future maintenance, cleaning, alteration and demolition.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

D6 ¦ STATUTORY AND SAFETY INFORMATION. Update client risk assessments, emergency plans and permits. Guidance: The client’s operational documents must reflect the new layout, systems, hazards and responsibilities before use.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E1 ¦ O&M AND ASSET INFORMATION. Receive complete operation and maintenance manuals. Guidance: Check structure, accuracy, searchable format, product data, maintenance instructions, contacts and project-specific information.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E2 ¦ O&M AND ASSET INFORMATION. Receive as-built drawings and schematics. Guidance: Confirm final routes, sizes, locations, controls, isolation points, access zones and changes are shown.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E3 ¦ O&M AND ASSET INFORMATION. Receive asset registers and equipment data. Guidance: Include manufacturer, model, serial number, location, warranty, maintenance interval, replacement parts and criticality.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E4 ¦ O&M AND ASSET INFORMATION. Receive commissioning, test and inspection records. Guidance: Link results to the relevant asset or system and record outstanding actions.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E5 ¦ O&M AND ASSET INFORMATION. Receive warranties, guarantees and collateral warranties. Guidance: Record start date, duration, coverage, exclusions, registration, servicing conditions, contacts and claim route.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E6 ¦ O&M AND ASSET INFORMATION. Receive spare parts, tools, consumables and attic stock. Guidance: List quantity, location, storage requirements and the client custodian.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

E7 ¦ O&M AND ASSET INFORMATION. Confirm digital files are correctly named, accessible and backed up. Guidance: Use a controlled folder structure and ensure the client can open proprietary formats.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F1 ¦ TRAINING AND OPERATION. Complete training for facilities and maintenance staff. Guidance: Cover normal operation, isolation, reset, alarms, maintenance, fault response and emergency procedures.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F2 ¦ TRAINING AND OPERATION. Complete training for users, security, cleaning and IT teams. Guidance: Tailor sessions to each group’s responsibilities and record attendance.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F3 ¦ TRAINING AND OPERATION. Provide simple building-user guides. Guidance: Use plain language for everyday controls, comfort, security, reporting faults and energy-efficient operation.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F4 ¦ TRAINING AND OPERATION. Record demonstrations or provide repeatable training material. Guidance: Video, slides and written guides help when staff change or cannot attend the original session.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F5 ¦ TRAINING AND OPERATION. Confirm maintenance and service contracts are in place. Guidance: Schedule statutory inspection, servicing, filter changes, controls support and warranty-required attendance from handover.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

F6 ¦ TRAINING AND OPERATION. Confirm emergency and out-of-hours contacts. Guidance: List contractor, specialist, utility and client escalation contacts and the limits of each response obligation.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G1 ¦ CLIENT READINESS. Confirm furniture, equipment, IT and AV are installed or planned. Guidance: Record dependencies, testing, interfaces and any area that cannot yet operate as intended.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G2 ¦ CLIENT READINESS. Confirm cleaning, waste, security and access-control arrangements. Guidance: Ensure contracts, staffing, routes, bins, alarms, cards and procedures are ready before users enter.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G3 ¦ CLIENT READINESS. Confirm room data, signage, booking and occupancy arrangements. Guidance: Check room names, numbers, capacity, wayfinding, emergency signs and operational systems.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G4 ¦ CLIENT READINESS. Confirm decant, move and return-to-use plans. Guidance: Plan staff, records, equipment, stock, communication and support during occupation.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G5 ¦ CLIENT READINESS. Confirm insurance and ownership responsibilities change at the correct point. Guidance: Check contract, policy and partial-possession implications before accepting control.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

G6 ¦ CLIENT READINESS. Confirm the client has resources to manage outstanding work. Guidance: Plan escorts, permits, access, disruption and verification of work during the defects period.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

H1 ¦ COMMERCIAL AND CONTRACT. Confirm the practical-completion assessment and certificate route. Guidance: Record who certifies, the date, any sections and the contract consequences.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

H2 ¦ COMMERCIAL AND CONTRACT. Confirm retention, payment and insurance adjustments. Guidance: Follow the contract rather than releasing money or changing cover automatically.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

H3 ¦ COMMERCIAL AND CONTRACT. Agree the outstanding-work and defects register. Guidance: Distinguish minor defects, incomplete work, seasonal items and work that prevents occupation.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

H4 ¦ COMMERCIAL AND CONTRACT. Confirm outstanding instructions, claims and final-account actions. Guidance: Keep commercial matters visible after occupation and assign owners and target dates.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

I1 ¦ AFTERCARE AND DECISION. Agree defects-reporting and emergency response arrangements. Guidance: Use one controlled route and explain how users should report safety, service and routine issues.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

I2 ¦ AFTERCARE AND DECISION. Plan early aftercare and post-occupation reviews. Guidance: Set dates shortly after occupation, seasonally and before the defects period expires.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

I3 ¦ AFTERCARE AND DECISION. List every condition applying to handover or occupation. Guidance: Name owner, due date, consequence and whether the matter prevents use of any area or system.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

I4 ¦ AFTERCARE AND DECISION. Record the formal handover decision. Guidance: Use Approved, Approved subject to actions or Not approved, with the responsible authority and evidence.. STATUS [ ] Not reviewed [ ] Complete [ ] Action required [ ] Risk accepted [ ] N/A. EVIDENCE / DECISION / NOTES ________________________________________________________________________________________________________ ________________________________________________________________________________________________________. ACTION REQUIRED / NEXT STEP ________________________________________________________________________________________________________. Owner ____________________________; Due date ____________________________; Date closed ____________________________..

STAGE GATE DECISION

Gate test

The completed area can be entered, secured, operated, maintained and used safely from day one, with any residual items explicitly controlled.

Decision

[ ] Approved to proceed [ ] Approved with conditions [ ] Do not proceed [ ] Review not yet completed

Approved by ______________________________________________; Date ______________________________________________.

Conditions, exceptions and residual risks

Record every condition or accepted exception, together with its owner and completion date where relevant. ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________ ________________________________________________________________________________________________________

Building Project Checklists — expanded downloadable resource | Version 1.0, 22 July 2026. For client-side project governance. Confirm current legislation, contract terms, organisational procedures and project-specific professional advice.