# Compliance Audit and Site Review Checklist

Companion working resource for The Accidental Compliance Manager

| Project / organisation |  | Prepared by |  |
| --- | --- | --- | --- |
| Version | 1.0 | Issue date | 8 September 2026 |

Purpose: Supports a structured review of the compliance system, sampled evidence and physical conditions without confusing a dashboard review with assurance.

# Audit details

| Scope and objective | Define what is and is not being reviewed. |
| --- | --- |
| Buildings / systems | List locations, assets and compliance areas. |
| Audit lead and participants | Record competence and independence. |
| Date and reporting period |  |
| Sample selected | Explain why the sample is representative. |
| Previous findings reviewed | Record report and action references. |

# 1. Governance and ownership

| Ref | Check / action | Evidence / response | Owner / date | Status |
| --- | --- | --- | --- | --- |
| 1.1 | Responsibilities and deputies are current, accepted and understood. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 1.2 | Applicable legal, regulatory, insurance and policy requirements are identified. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 1.3 | The compliance register covers all relevant buildings, systems and specialist equipment. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 1.4 | Management receives exception-based assurance and challenges unsupported green status. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 1.5 | Changes to buildings, use, legislation and personnel trigger review. |  |  | ☐ Open ☐ Complete ☐ N/A |

# 2. Planning and delivery

| Ref | Check / action | Evidence / response | Owner / date | Status |
| --- | --- | --- | --- | --- |
| 2.1 | Inspection, test, maintenance and review frequencies are defined and scheduled. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 2.2 | Overdue or missed activity is visible, risk assessed and escalated. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 2.3 | Contractors and internal staff are competent for the tasks sampled. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 2.4 | Access failures, cancellations and incomplete visits are controlled and rearranged. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 2.5 | Defects and recommendations are triaged and linked to owned actions. |  |  | ☐ Open ☐ Complete ☐ N/A |

# 3. Evidence sampling

| Ref | Check / action | Evidence / response | Owner / date | Status |
| --- | --- | --- | --- | --- |
| 3.1 | Certificates and reports exist for the sampled requirement and period. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 3.2 | Evidence identifies the correct asset, location, date, result and competent person. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 3.3 | Failures, limitations and observations have not been lost during data entry. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 3.4 | Superseded documents are controlled and current evidence can be retrieved promptly. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 3.5 | Closed actions have objective completion and verification evidence. |  |  | ☐ Open ☐ Complete ☐ N/A |

# 4. Physical site review

| Ref | Check / action | Evidence / response | Owner / date | Status |
| --- | --- | --- | --- | --- |
| 4.1 | Sampled assets and locations match the register and drawings. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 4.2 | Labels, notices, access routes and safety controls are present and legible. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 4.3 | Obvious defects, changes of use or unauthorised alterations are captured. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 4.4 | Plant rooms, risers, workshops and specialist spaces are appropriately controlled. |  |  | ☐ Open ☐ Complete ☐ N/A |
| 4.5 | Staff can explain local checks, fault reporting and emergency escalation. |  |  | ☐ Open ☐ Complete ☐ N/A |

# Findings and conclusion

| Good practice identified |  |
| --- | --- |
| Non-conformities / breaches | Reference each finding and evidence. |
| Observations / improvement opportunities |  |
| Immediate controls required |  |
| Actions raised | Enter references from the action tracker. |
| Overall assurance opinion | Effective / Partially effective / Ineffective / Unable to assure. |
| Follow-up date and owner |  |

Important use note

This document is a practical working template, not legal, contractual or technical advice. Adapt it to the project, organisation, executed contract, amendments, applicable law and competent-person advice. Retain supporting evidence and record why any item is marked not applicable.

Ink & Lintel | Version 1.0 | 8 September 2026