# PCI Master Template — Standard Client / Site Baseline

Full PCI structure with reusable approved wording and project-specific fields

Companion working resource to The Pre-Construction Information Workbook. Adapt this template to the scale, complexity and risk profile of the project. Delete guidance text before formal issue.

# How to use this master

This version is intended for clients, estates teams and organisations that commission work repeatedly on the same sites or within a common operating model. It separates recurring organisation/site arrangements from information that must be reviewed and written for each project.

☐ Agree the standard wording internally and keep a controlled master copy.

☐ For each project, duplicate the master and complete every PROJECT-SPECIFIC field.

☐ Do not assume standard wording remains correct: review it against the actual project, location and current site arrangements.

☐ Delete irrelevant sections or mark them Not Applicable with a brief reason. Do not issue pages of generic text merely because they are in the master.

☐ Record uncertainties and information still to be obtained rather than presenting assumptions as facts.

# Document control

| Project | [Project title] |
| --- | --- |
| Site / building | [Location] |
| Client | [Client organisation] |
| Principal Designer | [Name / organisation] |
| Prepared by | [Name / role] |
| Revision | [Rev] |
| Issue date | [Date] |
| Status | [Draft / Tender / Construction issue] |

# 1. Purpose, status and scope of this PCI

STANDARD CLIENT / SITE TEXT — PURPOSE AND USE

This Pre-Construction Information (PCI) document provides information already held by, or reasonably obtainable by, the Client which is relevant to the planning, design and management of the construction work. It is to be read with the drawings, specification, surveys and other documents listed in the information register. It is not intended to repeat information that is more clearly provided elsewhere. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Project scope: [Describe what is being built, altered, repaired, removed or installed.] PCI issue purpose: [Tender / early design / pre-start / revised issue.] Key exclusions or boundaries: [State what is outside the project scope.]

# 2. Client, project team and responsibilities

STANDARD CLIENT / SITE TEXT — CLIENT ARRANGEMENTS

The Client expects all project participants to communicate material health and safety information promptly and to raise gaps or conflicts rather than make unsupported assumptions. Queries concerning the site, operations or Client procedures should be directed through the nominated Client project contact. Review this standard wording for every project and amend only where the project/site arrangements differ.

| Role | Organisation / person | Contact details | Project-specific notes |
| --- | --- | --- | --- |

# 3. Site and building context

STANDARD CLIENT / SITE TEXT — GENERAL SITE CONDUCT

The site may remain in normal use during construction unless stated otherwise. Contractors must plan their activities so that building users, neighbours and the public are not exposed to construction risks. Work areas are to be properly separated, secured and left safe whenever unattended. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Building / site description: [Age, use, construction, occupancy, heritage status where relevant.] Surroundings and neighbours: [Roads, adjacent uses, schools, residences, public routes, shared premises.] Areas remaining occupied: [Identify affected departments, tenants, users or operations.]

# 4. Access, deliveries and logistics

STANDARD CLIENT / SITE TEXT — ACCESS AND DELIVERIES

All deliveries and contractor access are to be planned in advance. Routes, unloading areas and temporary storage must be agreed with the Client site contact. Fire routes, emergency access, accessible routes and normal operational access are to be maintained unless an alternative arrangement has been formally agreed. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Approved vehicle / pedestrian access: [Route and entrance.] Delivery restrictions: [Times, vehicle size, booking process, banksman requirements.] Storage / compounds: [Available areas and constraints.] Parking: [Permitted arrangements or no-parking requirement.]

# 5. Security, identification and safeguarding

STANDARD CLIENT / SITE TEXT — SECURITY

Contractor personnel are to comply with the Client’s access-control and identification requirements. Keys, cards, alarm codes and secure-area access must be controlled. Doors and gates are not to be propped open or left unsecured. Any loss of keys or access credentials is to be reported immediately. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Site-specific security requirements: [Passes, induction, escorts, secure areas.] Safeguarding / vulnerable users: [Requirements if relevant.] Restricted photography / information security: [State restrictions.]

# 6. Working hours, noise, dust and operational interfaces

STANDARD CLIENT / SITE TEXT — OPERATIONAL PROTECTION

The Contractor is to plan noisy, dusty, disruptive or high-risk activities around the Client’s operations. Where work could affect occupied areas, the timing, separation, temporary protection and communication arrangements must be agreed before the activity starts. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Normal permitted working hours: [Insert.] Known quiet / blackout periods: [Teaching, exams, worship, events, clinical activity, etc.] Noise / vibration constraints: [Insert.] Dust / odour controls required by operations: [Insert.]

# 7. Welfare and facilities

STANDARD CLIENT / SITE TEXT — WELFARE

The Principal Contractor remains responsible for ensuring suitable welfare arrangements are in place. Client facilities may only be used where this has been expressly agreed and their use will not compromise normal operations, hygiene, security or access. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Facilities available to contractors: [If any.] Temporary welfare location / restrictions: [Insert.] Water / power available: [Confirm supply points and limitations.]

# 8. Emergency, fire and incident arrangements

STANDARD CLIENT / SITE TEXT — EMERGENCY ARRANGEMENTS

Contractors are to follow the Client’s emergency arrangements while within occupied Client premises and must ensure their own construction emergency arrangements interface with them. Fire exits, alarm devices, firefighting equipment and emergency access routes are not to be obstructed or impaired without prior agreement and suitable temporary arrangements. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Site emergency contact: [Name / number.] Assembly point: [Location.] Fire alarm / evacuation arrangements: [Site-specific details.] Permit or notification needed for alarm isolations: [Insert.]

# 9. Permits, authorisations and Client controls

STANDARD CLIENT / SITE TEXT — PERMIT CONTROLS

Where the Client operates permits or authorisation systems, the Contractor must obtain the relevant approval before starting the controlled activity. A permit does not transfer responsibility for planning or carrying out the work safely. Review this standard wording for every project and amend only where the project/site arrangements differ.

| Controlled activity | Client standard / permit | Applies? | Project detail / contact |
| --- | --- | --- | --- |

# 10. Existing records and surveys

STANDARD CLIENT / SITE TEXT — EXISTING INFORMATION

Existing drawings, records and surveys are provided for information and must be read with their stated limitations. Age, accuracy, completeness and original purpose should be considered before reliance is placed on them. Visible site conditions and discrepancies must be reported. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Information issued with PCI: [Cross-reference document register.] Important limitations: [Accuracy, inaccessible areas, historic drawings, missing records.] Further surveys required: [List or cross-reference survey schedule.]

# 11. Asbestos and hazardous materials

STANDARD CLIENT / SITE TEXT — ASBESTOS MANAGEMENT

Where asbestos information is held, it will be issued or made available to the project team. No intrusive work is to commence until the asbestos information is appropriate for the planned work and any necessary refurbishment/demolition survey has been completed. Suspect materials not covered by the available information are to be treated as potentially hazardous until assessed. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Relevant asbestos information: [Report / register reference and date.] Survey coverage / limitations: [Insert.] Other hazardous materials: [Lead, contaminated residues, biological hazards, refrigerants, etc.]

# 12. Existing services and isolations

STANDARD CLIENT / SITE TEXT — SERVICES

Existing services information may be incomplete or indicative. The Contractor and designers must establish the location and status of services relevant to their work and must not rely solely on historic drawings. Isolations affecting Client operations require prior agreement and must be undertaken by authorised persons. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Known significant services: [HV/LV, gas, steam, water, medical gases, data, alarms, specialist systems.] Isolation authority / process: [Insert.] Critical services / no-fail systems: [Insert.] Known limitations in records: [Insert.]

# 13. Structure, fabric and stability

STANDARD CLIENT / SITE TEXT — EXISTING STRUCTURE

No assumptions are to be made about the capacity, composition or condition of the existing structure where work could affect stability or load paths. Proposed penetrations, temporary loads, demolition, propping and changes in support conditions are to be assessed by competent designers as appropriate. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Known structural form: [Insert.] Known defects / fragile elements: [Insert.] Load restrictions: [Floors, roofs, yards, access structures.] Temporary works concerns: [Insert.]

# 14. Ground, buried services and environmental conditions

STANDARD CLIENT / SITE TEXT — GROUND AND ENVIRONMENT

Ground conditions, buried obstructions and underground services should be treated as uncertain unless supported by reliable project-specific investigation. Work must be planned to avoid pollution, uncontrolled discharge and damage to retained landscape or ecology. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Ground information: [Surveys, made ground, contamination, archaeology.] Buried services information: [Records / scans / trial holes.] Environmental constraints: [Trees, ecology, watercourses, drainage, protected features.]

# 15. Significant project and design risks

Record risks that are unusual, difficult to manage, not likely to be obvious to a competent contractor, or where the project team can materially influence the means of control. Avoid reproducing generic construction hazards.

| Risk / issue | Why it is significant here | Information / design response | Action / owner |
| --- | --- | --- | --- |

# 16. Sequencing, phasing and interfaces

PROJECT-SPECIFIC INFORMATION Required phasing: [Insert.] Dependencies / access dates: [Insert.] Interfaces with Client work or other contractors: [Insert.] Temporary routes / decants / possessions: [Insert.]

# 17. Contractor design and temporary works

PROJECT-SPECIFIC INFORMATION Known contractor-designed portions: [Insert.] Temporary works expected: [Scaffolds, propping, excavations, temporary roofs, lifting arrangements, etc.] Client / designer constraints affecting these: [Insert.]

# 18. Information gaps, assumptions and actions before construction

| Information gap / uncertainty | Why it matters | Action required | Owner | Required by |
| --- | --- | --- | --- | --- |

# 19. Health and Safety File / handover information

STANDARD CLIENT / SITE TEXT — HANDOVER INFORMATION

Information necessary for the safe future use, maintenance, alteration and demolition of the completed work is to be identified and assembled as the project progresses rather than left until completion. The project-specific requirements are to be coordinated with the Principal Designer and Client. Review this standard wording for every project and amend only where the project/site arrangements differ.

PROJECT-SPECIFIC INFORMATION Client file / O&M requirements: [System, format, naming, asset data requirements.] Specific information to capture: [Access, residual risks, specialist systems, concealed services, etc.]

# 20. Supporting information issued with this PCI

| Reference | Document / drawing | Author / originator | Revision / date | Notes |
| --- | --- | --- | --- | --- |

# 21. Review and approval

| Prepared by | [Name / role / date] |
| --- | --- |
| Reviewed by | [Name / role / date] |
| Approved / authorised for issue by | [Name / role / date] |
| Next planned review | [Date / trigger] |