# PCI Preparation and Quality-Review Checklist

A concise pre-issue check for the person compiling and reviewing the PCI

Companion working resource to The Pre-Construction Information Workbook. Adapt this template to the scale, complexity and risk profile of the project. Delete guidance text before formal issue.

| Project | [Insert] |
| --- | --- |
| PCI revision | [Insert] |
| Prepared by | [Insert] |
| Reviewed by | [Insert] |
| Review date | [Insert] |

# Project-specific and proportionate

☐ The PCI describes this project rather than a generic type of work.

☐ Irrelevant sections have been removed or clearly marked N/A with a reason.

☐ The amount of detail is proportionate to the project’s scale, complexity and risk.

☐ Generic construction hazards have not been copied into the PCI without project-specific relevance.

# Information quality

☐ The latest reasonably available surveys and records have been used.

☐ Document dates, revisions and important limitations are stated.

☐ Unknowns are identified as gaps or actions rather than being converted into assumptions.

☐ Conflicting information has been resolved or clearly flagged.

# Existing building / site

☐ Asbestos information is appropriate to the proposed intrusive work.

☐ Existing services and isolation arrangements are addressed.

☐ Structural / stability / load constraints are addressed where relevant.

☐ Access, deliveries, public interfaces and operational constraints are clear.

☐ Fire, emergency and security interfaces are described where relevant.

# Significant risks

☐ The PCI highlights risks that are unusual, significant, difficult to foresee or materially influenced by design.

☐ The description explains why the issue matters on this project.

☐ Useful information or design decisions are provided, not merely labels such as “work at height”.

☐ Residual uncertainty and required further investigation are visible.

# Clarity and usability

☐ The document can be understood by a competent contractor without unnecessary interpretation.

☐ Important restrictions are easy to find.

☐ Supporting drawings / reports are attached or clearly referenced.

☐ No contradictory boilerplate remains from the template.

☐ Names, contacts, dates and revision status are complete.

# Issue and maintenance

☐ The intended issue status is clear.

☐ The right recipients will receive the PCI and supporting information.

☐ A process exists to issue material new information arising before construction.

☐ The project team understands which information should flow into the Construction Phase Plan and H&S File.

# Review outcome

| Ready for issue? | [Yes / No] |
| --- | --- |
| Actions required before issue | [Insert] |
| Action owner / date | [Insert] |