# Pre-Construction Site Visit Record

Structured record to support preparation or review of PCI

Companion working resource to The Pre-Construction Information Workbook. Adapt this template to the scale, complexity and risk profile of the project. Delete guidance text before formal issue.

| Project | [Insert] |
| --- | --- |
| Site / building | [Insert] |
| Visit date / time | [Insert] |
| Weather / site conditions | [Insert] |
| Attendees | [Insert] |
| Areas visited / inaccessible | [Insert] |

# Visit prompts

☐ Confirm construction / delivery access and likely contractor routes.

☐ Identify occupied areas, public interfaces and shared circulation.

☐ Check apparent security, safeguarding and access-control constraints.

☐ Note fire escape routes, alarm arrangements and emergency access interfaces.

☐ Identify likely welfare / compound / storage options and restrictions.

☐ Check visible services, plant, service routes and likely isolation interfaces.

☐ Note structural form, fragile elements, unusual levels, roof access or apparent defects.

☐ Confirm asbestos information is available for areas likely to be disturbed; do not presume visible materials are safe.

☐ Identify noise-, dust-, vibration- or odour-sensitive activities / spaces.

☐ Note drainage, ground conditions, overhead / underground service indicators and external constraints.

☐ Record discrepancies between drawings / records and what is visible.

☐ Identify areas that require specialist survey or further access.

# Observations and actions

| Location / item | Observation / constraint | PCI relevance / action | Owner | By when |
| --- | --- | --- | --- | --- |

# Photograph / sketch log

| Ref | Location / subject | What the image shows / why relevant | File name / link |
| --- | --- | --- | --- |

# Post-visit information requests

| Information needed | Reason | Requested from | Date requested | Status |
| --- | --- | --- | --- | --- |

# Visit conclusion

Most significant PCI issues identified: [Insert]

Areas not inspected / limitations: [Insert]

Further surveys / meetings required: [Insert]

# Additional notes / sketch references

Notes